Ozone Depleting Substances Record Book

Marpol Annex VI Regulation 12

| Vessels Name: |  |
| --- | --- |
| IMO No: |  |

(Only applicable to IVS Kanda, IVS Kawana and IVS Kingbird)

List all Ozone Depleting Substance (ODS) on board in this section:

Entries in the Ozone Depleting Substances Record Book shall be recorded in terms of mass (kg) of substance and shall be completed without delay on each occasion, in respect of the following:

- recharge, full or partial, of equipment containing ozone depleting substances;

- repair or maintenance of equipment containing ozone depleting substances;

- discharge of ozone depleting substances to the atmosphere:

  - deliberate; and

  - non-deliberate;

- discharge of ozone depleting substances to land-based reception facilities; and

- supply of ozone depleting substances to the ship.

| LIST OF EQUIPMENT CONTAINING OZONE DEPLETING SUBSTANCES |  |  |  |
| --- | --- | --- | --- |
| Ship’s Name: |  | Date: |  |
| PIC : |  | CEO : |  |

| Refrigerant Kind | Refrigerant No. | Substance Name | Symbols | Mass (KG) | Plant / Equipment Name | Location of Plant / Equipment | Refrigerant Quantity system in Kg | Date of Confirmation or installation | Name & Signature |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| PERIOD LEAK INSPECTION |  |  |  |
| --- | --- | --- | --- |
| Ship’s Name: |  | Date: |  |
| PIC : |  | CEO : |  |

| Equipment Name/s | Interval of leak Inspection- Monthly (Interval may be extended depending of the condition being found) | Inspection method a. Water soap solution b. Propane or Butane flame colour alteration c. Electronic sensor detection apparatus d. Fluorescent dye embedded to the refrigerant e. Others_______________ | Result of leak test (No leaks / if found leaking location and counter measure brief report) | Date leak test |
| --- | --- | --- | --- | --- |

LOG SHEET FOR RECORD KEEPING

| Date | Description of Equipment | Refrigerant brought forward (in KG) | Discharge of ODS to atmosphere in KG |  | Repair or maintenance of equipment containing ODS | Discharge of ODS to shore reception facility in KG (attach certificate) | Supply to vessel in KG (keep copy of delivery order) | System charged with ODS in KG (Full or partial) | Refrigerant carried forward in KG (ROB) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Deliberate | Non-deliberate |  |  |  |  |  |  |

| Ozone Depleting Substance (ODS) Maintenance and Repair |  |  |  |
| --- | --- | --- | --- |
| Ship’s Name: |  | Date: |  |
| PIC : |  | CEO : |  |

| Kind of Maintenance and Repair | Remarks |
| --- | --- |