## Battery Replacement Record
| HEALTH, SAFETY, ENVIRONMENT AND QUALITY MANAGEMENT SYSTEM BATTERY TEST AND REPLACEMENT RECORD REPORTING FORMS MANUAL | [6 empty] | Form : 6.6.17 Date : 12-Aug-25 Rev : 10.0 App By : DPA
BATTERY REPLACEMENT RECORD
VESSEL : | [6 empty] | DATE :
S.No | Description Of Item | Make and Type of battery | Renewal Crieria | Date installed | Next Renewal date | Replacement procedure available in manual Yes/ No | Remark | PIC
A | Machinery
1 | Boiler control panel | OMRON SYSMAC CJ2M CPU11 | 5 Yrs |  |  |  |  | 2EO
2 | Alpha Lubricator back up battery |  | 5 Yrs |  |  |  |  | 2EO
3A | No. 1 FO Purifier (PLC system), JNS vessels |  | 5 Yrs |  |  |  |  | 2EO
3B | No. 2 FO Purifier (PLC system) |  | 5 Yrs |  |  |  |  | 2EO
3C | ME LO puirifier (PLC System) |  | 5 Yrs |  |  |  |  | 2EO
3D | DG LO puirifier (PLC System) |  | 5 Yrs |  |  |  |  | 2EO
4 | Waste oil incinrator (PLC system) | OMRON SYSMAC C1L | 2.5 Yrs |  |  |  |  | 2EO
5 | Emergency Generator Batteries | 130F51 12V 96Ah 5HR ( MAINTENANCE FREE) | 2.0 Yrs |  |  |  |  | 2EO
6 | 15ppm Bilge alarm ( Bilge Separator) | CR2450 | 2.0 Yrs |  |  |  |  | 2EO
7 | Nablesco (Main Controler) |  | 3.0 Yrs |  |  |  |  | 2EO
8 | UPS General (if any in ECR) |  | 2.5 Yrs |  |  |  |  | 2EO
B | Radio and Navigation equipment
9 | VDR DCU Battery 2 Pcs (Furuno VR-3000) | Type: OP24-12, Code no: 004-385-010 | 4.0 Yrs |  |  |  |  | ETO/3EO, 2NO
| VDR DCU (Furuno VR-7000) | Type: CY1-1487-01 | 4.0 Yrs |  |  |  |  | ETO/3EO, 2NO
10 | Fixed DRU Acoustic beacon battery (Furuno VR-7000) | PT9 NINETY | 3.0 Yrs |  |  | Technician |  | ETO/3EO, 2NO
11 | VDR Float free DRU (Furuno VR-7000) | Lithium, Metal, 7.2V/ 18Ah (2S5P), Type: X-89340 | 5.0 Yrs |  |  | Technician | Replace unit when battery renewal is due. | 3NO
12 | Echo sounder (Furuno FE-800) | A Lithium battery installed on a circuit board, Type BR-1225-1/BK | 5.0 Yrs |  |  | Technician | Renew battery when warning meassge is displayed | 2NO
13 | Navtex (Furuno NX-700A) | A battery is installed inside the display unit Type CR2450-F2ST2L | 5 -10 Yrs |  |  | Technician | Renew when battery icon appears on display | 2NO
14 | Portable daylight signalling lamp (SOLAS CH V Reg 19/ 2.2.2 + MSC.95(72)) | PXL12090F2-W( Small sized valve regulated lead-acid battery) | Expiry date as marked |  |  |  |  | 3NO
15 | SART Battery (Taiyo TBR-610) | Lithium battery | Expiry date as marked |  |  |  | Battery expiry date as marked on the body | 3NO
| SART Battery (Furuno TBR-610) | Lithium sulfur dioxide sealed battery, 6VDC | Expiry date as marked |  |  |  |  | 3NO
| SART Battery (Tron SART20), Jotron | Tron SART Lithium battery P/N 82615 | Expiry date as marked |  |  |  |  | 3NO
| SART Battery (JRC, JQX-30A) | Lithium Manganese dioxide, model NBB-441 | Expiry date as marked |  |  |  |  | 3NO
| SART Battery (MCMURDO) | Orolia Ltd part number 86-630 | Expiry date as marked |  |  |  |  | 3NO
| SART Battery (Pathfinder Pro) | Lithium Iron Disulfide (LiFeS2) | Expiry date as marked |  |  |  |  | 3NO
16 | EPIRB Battery (TRON 60S) | L91 Volts: 1.5 Lithium/Iron Disulfide) | Expiry date as marked |  |  | Technician | Replace unit when battery renewal is due. | 3NO
17 | GMDSS Walkie Talkies Battery in use (3 nos.) | ENTEL CLB750E LITHIUM BATTERY 7.4 V 1800Ah | Expiry date as marked |  |  |  |  | 3NO
| GMDSS Walkie Talkies Sealed Battery (3 nos.) | ENTEL CLB750E LITHIUM BATTERY 7.4 V 1800Ah | Expiry date as marked |  |  |  |  | 3NO
18 | Fire Alarm System | FUKURAWA BATT. CO. LTD / LEAD ACID 200 A 6PCS 12 CELLS | 5.0 Yrs |  |  |  |  | ETO/3EO
C | General Batteries
19 | 24VDC GMDSS Radio Batteries | FUKURAWA BATT. CO. LTD / LEAD ACID 200 A 6PCS 12 CELLS | 3 years |  |  |  |  | ETO/3EO
20 | General Service Batteries | FUKURAWA BATT. CO. LTD / LEAD ACID 200 A 6PCS 12 CELLS | 3 years |  |  |  |  | ETO/3EO
21 | Free Fall Lifeboat | 6-CQ-90 12 V 90Ah 680A (SAE) - MAINTENANCE FREE - GEL TYPE | 2.0 Yrs |  |  |  |  | ETO/3EO
22 | Lifeboat (Stbd) Engine Batteries | MAINTENANCE FREE - GEL TYPE | 2.0 Yrs |  |  |  |  | ETO/3EO
| Lifeboat (Port) Engine Batteries | MAINTENANCE FREE - GEL TYPE | 2.0 Yrs |  |  |  |  | ETO/3EO
23 | Rescue Boat Batteries | 6-CQ-90 12 V 90Ah 680A (SAE) - MAINTENANCE FREE - GEL TYPE | 2.0 Yrs |  |  |  |  | ETO/3EO
CEO : |  |  |  | Captain :
Date : |  |  |  | Date :

## General Service 1
|  | HEALTH, SAFETY, ENVIRONMENT AND QUALITY MANAGEMENT SYSTEM BATTERY TEST AND REPLACEMENT RECORD REPORTING FORMS MANUAL | [5 empty] | Form : 6.6.17 Date : 12-Aug-25 Rev : 10.0 App By : DPA
0
GENERAL SERVICE # 1, BATTERIES WEEKLY TEST
DATE: |  |  |  |  | DATE:
TESTED BY: |  |  |  |  | TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG | BATT No 1 | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1 |  | CELL 1 |  | CELL 1
CELL 2 |  |  | CELL 2 |  | CELL 2 |  | CELL 2
CELL 3 |  |  | CELL 3 |  | CELL 3 |  | CELL 3
CELL 4 |  |  | CELL 4 |  | CELL 4 |  | CELL 4
CELL 5 |  |  | CELL 5 |  | CELL 5 |  | CELL 5
CELL 6 |  |  | CELL 6 |  | CELL 6 |  | CELL 6
VOLTAGE |  |  | VOLTAGE |  | VOLTAGE |  | VOLTAGE
DATE: |  |  |  |  | DATE:
TESTED BY: |  |  |  |  | TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG | BATT No 1 | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1 |  | CELL 1 |  | CELL 1
CELL 2 |  |  | CELL 2 |  | CELL 2 |  | CELL 2
CELL 3 |  |  | CELL 3 |  | CELL 3 |  | CELL 3
CELL 4 |  |  | CELL 4 |  | CELL 4 |  | CELL 4
CELL 5 |  |  | CELL 5 |  | CELL 5 |  | CELL 5
CELL 6 |  |  | CELL 6 |  | CELL 6 |  | CELL 6
VOLTAGE |  |  | VOLTAGE |  | VOLTAGE |  | VOLTAGE
DATE:
TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1
CELL 2 |  |  | CELL 2
CELL 3 |  |  | CELL 3
CELL 4 |  |  | CELL 4
CELL 5 |  |  | CELL 5
CELL 6 |  |  | CELL 6
VOLTAGE |  |  | VOLTAGE

## General Service 2
|  | HEALTH, SAFETY, ENVIRONMENT AND QUALITY MANAGEMENT SYSTEM BATTERY TEST AND REPLACEMENT RECORD REPORTING FORMS MANUAL | [5 empty] | Form : 6.6.17 Date : 12-Aug-25 Rev : 10.0 App By : DPA
0
GENERAL SERVICE # 2, BATTERIES WEEKLY TEST
DATE: |  |  |  |  | DATE:
TESTED BY: |  |  |  |  | TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG | BATT No 1 | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1 |  | CELL 1 |  | CELL 1
CELL 2 |  |  | CELL 2 |  | CELL 2 |  | CELL 2
CELL 3 |  |  | CELL 3 |  | CELL 3 |  | CELL 3
CELL 4 |  |  | CELL 4 |  | CELL 4 |  | CELL 4
CELL 5 |  |  | CELL 5 |  | CELL 5 |  | CELL 5
CELL 6 |  |  | CELL 6 |  | CELL 6 |  | CELL 6
VOLTAGE |  |  | VOLTAGE |  | VOLTAGE |  | VOLTAGE
DATE: |  |  |  |  | DATE:
TESTED BY: |  |  |  |  | TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG | BATT No 1 | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1 |  | CELL 1 |  | CELL 1
CELL 2 |  |  | CELL 2 |  | CELL 2 |  | CELL 2
CELL 3 |  |  | CELL 3 |  | CELL 3 |  | CELL 3
CELL 4 |  |  | CELL 4 |  | CELL 4 |  | CELL 4
CELL 5 |  |  | CELL 5 |  | CELL 5 |  | CELL 5
CELL 6 |  |  | CELL 6 |  | CELL 6 |  | CELL 6
VOLTAGE |  |  | VOLTAGE |  | VOLTAGE |  | VOLTAGE
DATE:
TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1
CELL 2 |  |  | CELL 2
CELL 3 |  |  | CELL 3
CELL 4 |  |  | CELL 4
CELL 5 |  |  | CELL 5
CELL 6 |  |  | CELL 6
VOLTAGE |  |  | VOLTAGE

## GMDSS
|  | HEALTH, SAFETY, ENVIRONMENT AND QUALITY MANAGEMENT SYSTEM BATTERY TEST AND REPLACEMENT RECORD REPORTING FORMS MANUAL | [5 empty] | Form : 6.6.17 Date : 12-Aug-25 Rev : 10.0 App By : DPA
0
GMDSS RADIO BATTERIES WEEKLY TEST
DATE: |  |  |  |  | DATE:
TESTED BY: |  |  |  |  | TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG | BATT No 1 | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1 |  | CELL 1 |  | CELL 1
CELL 2 |  |  | CELL 2 |  | CELL 2 |  | CELL 2
CELL 3 |  |  | CELL 3 |  | CELL 3 |  | CELL 3
CELL 4 |  |  | CELL 4 |  | CELL 4 |  | CELL 4
CELL 5 |  |  | CELL 5 |  | CELL 5 |  | CELL 5
CELL 6 |  |  | CELL 6 |  | CELL 6 |  | CELL 6
REMARKS |  |  |  |  | REMARKS
DATE: |  |  |  |  | DATE:
TESTED BY: |  |  |  |  | TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG | BATT No 1 | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1 |  | CELL 1 |  | CELL 1
CELL 2 |  |  | CELL 2 |  | CELL 2 |  | CELL 2
CELL 3 |  |  | CELL 3 |  | CELL 3 |  | CELL 3
CELL 4 |  |  | CELL 4 |  | CELL 4 |  | CELL 4
CELL 5 |  |  | CELL 5 |  | CELL 5 |  | CELL 5
CELL 6 |  |  | CELL 6 |  | CELL 6 |  | CELL 6
REMARKS |  |  |  |  | REMARKS
DATE:
TESTED BY:
BATT No 1 |  | SPG | BATT. No 2 | SPG
CELL 1 |  |  | CELL 1
CELL 2 |  |  | CELL 2
CELL 3 |  |  | CELL 3
CELL 4 |  |  | CELL 4
CELL 5 |  |  | CELL 5
CELL 6 |  |  | CELL 6
REMARKS

## Emergency DG
|  | HEALTH, SAFETY, ENVIRONMENT AND QUALITY MANAGEMENT SYSTEM BATTERY TEST AND REPLACEMENT RECORD REPORTING FORMS MANUAL | [8 empty] | Form : 6.6.17 Date : 12-Aug-25 Rev : 10.0 App By : DPA
0
EMERGENCY GEN. BATTERY WEEKLY TEST
DATE | BATT.#1 Volt | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT.#2 Volt | REMARK | CHECK BY | Signature

## Lifeboat
|  | HEALTH, SAFETY, ENVIRONMENT AND QUALITY MANAGEMENT SYSTEM BATTERY TEST AND REPLACEMENT RECORD REPORTING FORMS MANUAL | [8 empty] | Form : 6.6.17 Date : 12-Aug-25 Rev : 10.0 App By : DPA
0
LIFE BOAT BATTERY WEEKLY TEST
DATE | BATT.#1 Volt | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT. Vols | BATT.#2 Volt | REMARK | CHECK EEO | Signature